Sample Processing Protocol: UBF1 was immunoprecipitated from Nuclear extracts of H1299 cells or purified recombinant bacterially-expressed full length human UBF1 was incubated in the presence or absence of recombinant human PKC in reaction buffer.  Immunoprecipitated UBF1 and in vitro kinase reactions were resolved by SDS-PAGE and the band corresponding to UBF1was excised and submitted to the Mayo Clinic Medical Genome Facility Proteomics Core for proteolytic cleavage and phosphorylation site analysis by mass spectrometry. The SDS-PAGE gel bands were prepared for mass spectrometry analysis using the following procedures. Silver stained gel bands were destained and reduced with 50 mM TCEP/50 mM Tris, pH 8.2 at 55ºC for 20 min then alkylated with 25 mM iodoacetamide at room temperature for 30 min in the dark. Proteins were digested in-situ with 50 ul (0.0025 mg/μl) trypsin (Promega Corporation, Madison WI) in 25 mM Tris pH8.2 / 0.0002% Zwittergent 3-16, at 37°C overnight, followed by peptide extraction with 25 ul of 2% trifluoroacetic acid, then 50 ul of acetonitrile. The pooled extracts are concentrated to less than 5 ul on a SpeedVac spinning concentrator (Savant Intruments, Holbrook NY) and then brought up in 0.15% formic acid/0.05% trifluoroacetic acid for protein identification by nano-flow liquid chromatography electrospray tandem mass spectrometry (nanoLC-ESI-MS/MS) using a Thermo Scientific Q-Exactive Mass Spectrometer (Thermo Fisher Scientific, Bremen, Germany) coupled to a Thermo Ultimate 3000 RSLCnano HPLC system. The digest peptide mixture is loaded onto a 330nl OPTI-PAK EXP trap (Optimize Technologies, Oregon City, OR) packed with Halo 2.7um C18 material.   Chromatography is performed using 0.2 % formic acid in both the A solvent (98%water/2%acetonitrile) and B solvent (80% acetonitrile/10% isopropanol/10% water), and a 2%B to 40%B gradient over 43 minutes at 400 nl/min through a 100um x 34cm PicoFrit column (New Objective, Woburn, MA) handpacked with Agilent Poroshell 120 EC C18 material.  The Q-Exactive Plus mass spectrometer set up was a FT full scan from 340-1500 m/z at resolution 70,000 (at 200m/z), followed by HCD MS/MS scans on the top 15 ions having a charge state of +2, +3, or +4, at resolution 17,500. The selected ions are placed on an exclusion list for 15 seconds.  The MS1 AGC target is set to 1e6 with 50ms max ion inject time and the MS2 target is set to 1e5 with a max ion inject time of 100ms.

Data Processing Protocol: The MS/MS raw data are searched using PEAKS X (Bioinformatics Solutions Inc, Waterloo, ON Canada) set up to search the Swissprot human protein database (January 2020, 20363 entries), with a concatenated decoy reverse database and assuming the digestion enzyme full trypsin. The fragment ion mass tolerance was set to 0.02 Da and the parent ion tolerance limited to 10.0 PPM. Oxidation of methionine, sulphation and phosphorylation of serine, threonine, and tyrosine were specified as variable modifications and carbamidomethyl cysteine as a fixed modification.  A-score values are used to assess phospho-site assignments.  Protein identification required a minimum of 2 peptides matched and a -10lgP >20. The peptide spectral matches (PSMs)  are filtered at a 0.5% false discovery rate (FDR).  Phosphopeptide identifications and site assignments were inspected manually.