README: Martha Cyert et al., Calcineurin Associates with Centrosomes and Regulates Cilia Length Maintenance

MassIVE title: Tsekitsidou_Calcineurin_MSPLIT_P127_6600

Dataset description

A

This dataset consists of 18 raw MS files, acquired on TripleTOF® 6600 mass spectrometer operated in Data Independent Acquisition mode. 18 raw MS files acquired in Data Dependent Acquisition mode on the same instrument in MassIVE dataset “Tsekitsidou_Calcineurin_P127_6600” were used to generate a spectral library.

B

Samples were generated by Eirini Tsekitsidou. Sample processing and mass spectrometry acquisition was performed by Cassandra Wong. Data analysis was performed by Cassandra Wong, Eirini Tsekitsidou, Martha Cyert, and Anne-Claude Gingras.

C

The files are associated with a manuscript submitted for publication by Eirini Tsekitsidou et al. The main goal of this paper was to map calcineurin spatial distribution and identify its previously unknown function as a phosphatase in maintaining cilia length.

D

Martha Cyert is the corresponding author of the manuscript (mcyert@stanford.edu); Anne-Claude Gingras should be contacted for questions on this dataset (gingras@lunenfeld.ca)

This submission is associated with 3 Supplementary Files (in addition to this README file)

Table 1 describes the composition of this dataset

Table 2 lists all the peptide identification evidence (as per iProphet)

Table 3 lists the SAINTexpress interactions

Internal reference from the Gingras lab ProHits implementation:

Project: P127

Export version: VS12

SAINT Task ID: 5687

Experimental Procedures

### Cell lines and culture

Cells were cultured at 37 °C in 5% CO2. HEK293T, HeLa and mouse IMCD3 cells were grown in Dulbecco's Modification of Eagle's Medium (DMEM) with 4.5g/L glucose, L-glutamine, and sodium pyruvate (Corning, 10-013-CV) supplemented with 10% fetal bovine serum (FBS, BenchmarkTM, Gemini Bio Products, 100-106). HEK293T and HeLa cells were a gift from Jan Skotheim’s lab at Stanford University. IMCD3 cells were a gift from Peter Jackson’s lab at Stanford University. hTERT-RPE1 cells were cultured in DMEM/F12 media (GibcoTM, 11320033) supplemented with 10% FBS. hTERT-RPE1 cells were a gift from Tim Stearns’ lab at Stanford University. Parental HEK293 Flp-In T-REx cells were provided by Anne-Claude Gingras, University of Toronto, and cultured in DMEM supplemented with 10% FBS, 3 μg/mL blasticydin (Research Products International, B12150) and 100 μg/mL zeocin (Gibco™, R25001) prior to stable plasmid integration. Mycoplasma testing was conducted monthly using a mycoplasma PCR detection kit (ABM, G238). Human and mouse cell lines were authenticated by STR profiling (Almeida et al., 2019; Barallon et al., 2010).

### MiniTurbo-3xFLAG stable cell lines

MiniTurbo-3xFLAG constructs were generated via Gateway cloning into pDEST 5’ miniTurbo-3xFLAG pcDNA5 FRT TO. Stable cell lines were generated in HEK293 Flp-In T-REx cell pools as described previously for BirA*-FLAG (Hesketh et al., 2017). Doxycycline-inducible, miniTurbo-expressing HEK293 Flp-In T-REx were cultured in antibiotic selection media: DMEM supplemented with 10% FBS, 3 μg/mL blasticydin and 200 μg/mL hygromycin-B (Research Products International, H75000-1). MiniTurbo expression was induced with addition of 1 μg/mL doxycycline (Sigma-Aldrich, D9891) for 48 hours. During BioID assays, stable cell lines were cultured in DMEM supplemented with 10% FBS previously treated to remove residual biotin (method described below), in order to reduce the possibility of non-specific biotinylation.

### Plasmid transfection

For stable cell line generation, HEK293 Flp-In T-Rex cells were co-transfected with pOG44 Flp-Recombinase Expression Vector (Invitrogen™, V600520), and pcDNA5 FRT TO plasmids expressing appropriate miniTurbo gene fusions, using Lipofectamine™ 2000 (Invitrogen™, 11668027), according to the manufacturer’s instructions. All other plasmid transfections were done using jetOPTIMUS® DNA Transfection Reagent (Polyplus), according to the manufacturer’s instructions.

### Biotin depletion of FBS

To remove residual biotin from serum for BioID assays, Streptavidin Sepharose® High Performance beads were used (Cytiva, 17-5113-01). 50 uL of packed bead volume was rinsed three times with 1X phosphate-buffered saline (PBS, pH 7.4, Gibco™ 10010049) in sterile conditions. Beads were spun at 500xg for 1 minute to remove the supernatant, then resuspended in 1X PBS equal to bead volume for 1:1 bead/PBS ratio. Resuspended beads were added to 50 mL of FBS, and allowed to mix in 4°C for 3 hours. The serum was then spun at 1000xg for 5 minutes to pellet the beads, and the supernatant was filtered through a syringe attached to a 0.45 μm low-bind filter under sterile conditions.

### Cell cycle synchronization coupled to biotinylation

For the asynchronous cell population, miniTurbo-3XFLAG HEK293 Flp-In T-Rex cells were cultured in DMEM containing 10% biotin-depleted FBS, 1 μg/mL doxycycline and DMSO for 48 hours. Immediately prior to cell collection, 50 μM D-biotin (Bio Basic, BB0078) was added to the media for 15 minutes at 37 °C. For G1/S synchronization, cells were cultured in DMEM containing 10% biotin-depleted FBS and 1 μg/mL doxycycline on day 1. On day 2, 2.5 μM thymidine (Millipore-Sigma, T9250) was added to the media for 14 hours at 37 °C. Cultures were then rinsed with 1X PBS and fresh media with 10% biotin-depleted FBS and 1 μg/mL doxycycline were added for 10 hours at 37 °C. 2.5 μM thymidine was then added to the media for 24 hours at 37 °C. Cultures were again rinsed with 1X PBS. Fresh media with 10% biotin-depleted FBS, 1 μg/mL doxycycline and 50 μM D-biotin were added for 15 minutes immediately prior to cell collection. For mitotic synchronization, cells were cultured in DMEM containing 10% biotin-depleted FBS and 1 μg/mL doxycycline on day 1. On day 2, 9 μM  RO-3306 (Selleck Chemicals, S7747) was added to the media for 20 hours at 37 °C. Cells were then rinsed with 1X PBS and incubated in DMEM with 10% biotin-depleted FBS and 1 μg/mL doxycycline at 37 °C for 45 minutes. 50 μM D-biotin was then added to the media for 15 minutes, and cells were finally collected one hour post-RO-3306 release. Cells were collected by the addition of warm Trypsin-EDTA Solution, 0.25% (Gibco™, 25200056), and a subset of them were kept resuspended in media for further analysis by flow cytometry and western blotting. Collected cells were pelleted by centrifugation at 500xg for 5 minutes. Cell pellets were weighed, frozen in liquid nitrogen and stored at -80°C until further analysis. Each biotinylation experiment was performed twice, resulting in two biological replicates, or two cell pellets, per condition.

### Biotin-streptavidin affinity purification and on-bead trypsin digest

Frozen cell pellets were first thawed and then lysed, bound to streptavidin-sepharose beads, trypsinized, dried, and prepared for analysis by mass spectrometry exactly as described in the protocol detailed in section 3.4.1 in Hesketh et al., 2017.

### Mass spectrometry data acquisition

Both data-dependent acquisition (DDA) and data-independent acquisition (DIA) were performed. For DDA, LC-MS/MS, affinity purified and digested peptides were analyzed using a nano-HPLC (High-performance liquid chromatography) coupled to MS. One-quarter of the sample was used. Nano-spray emitters were generated from fused silica capillary tubing, with 100µm internal diameter, 365µm outer diameter and 5-8µm tip opening, using a laser puller (Sutter Instrument Co., model P-2000, with parameters set as heat: 280, FIL = 0, VEL = 18, DEL = 2000). Nano-spray emitters were packed with C18 reversed-phase material (Reprosil-Pur 120 C18-AQ, 3µm) resuspended in methanol using a pressure injection cell. Sample in 5% formic acid was directly loaded at 800nl/min for 20min onto a 100µmx15cm nano-spray emitter. Peptides were eluted from the column with an acetonitrile gradient generated by an Eksigent ekspert™ nanoLC 425, and analyzed on a TripleTOF™ 6600 instrument (AB SCIEX, Concord, Ontario, Canada). The gradient was delivered at 400nl/min from 2% acetonitrile with 0.1% formic acid to 35% acetonitrile with 0.1% formic acid using a linear gradient of 90 min. This was followed by a 15 min wash with 80% acetonitrile with 0.1% formic acid, and equilibration for another 15min to 2% acetonitrile with 0.1% formic acid. The total DDA protocol is 135min. The first DDA scan had an accumulation time of 250ms within a mass range of 400-1800Da. This was followed by 10 MS/MS scans of the top 10 peptides identified in the first DDA scan, with accumulation time of 100 ms for each MS/MS scan. Each candidate ion was required to have a charge state from 2-5 and a minimum threshold of 300 counts per second, isolated using a window of 50mDa. Previously analyzed candidate ions were dynamically excluded for 7 seconds.

For DIA, LC-MS/MS, affinity purified and digested peptides were analyzed using a nano-HPLC (High-performance liquid chromatography) coupled to MS. One-quarter of the sample was used. Nano-spray emitters were generated from fused silica capillary tubing, with 100µm internal diameter, 365µm outer diameter and 5-8µm tip opening, using a laser puller (Sutter Instrument Co., model P-2000, with parameters set as heat: 280, FIL = 0, VEL = 18, DEL = 2000). Nano-spray emitters were packed with C18 reversed-phase material (Reprosil-Pur 120 C18-AQ, 3µm) resuspended in methanol using a pressure injection cell. Sample in 5% formic acid was directly loaded at 800nl/min for 20min onto a 100µmx15cm nano-spray emitter. Peptides were eluted from the column with an acetonitrile gradient generated by an Eksigent ekspert™ nanoLC 425, and analyzed on a TripleTOF™ 6600 instrument (AB SCIEX, Concord, Ontario, Canada). The gradient was delivered at 400nl/min from 2% acetonitrile with 0.1% formic acid to 35% acetonitrile with 0.1% formic acid using a linear gradient of 90 min. This was followed by a 15 min wash with 80% acetonitrile with 0.1% formic acid, and equilibration for another 15min to 2% acetonitrile with 0.1% formic acid. The total DIA protocol is 135min. The first DIA scan had an accumulation time of 250ms within a mass range of 400-1800Da. This was followed by 54 MS/MS scans with differing mass windows, with an accumulation time of 65ms per scan.

### Mass spectrometry data analysis

Mass spectrometry data generated were stored, searched and analyzed using ProHits laboratory information management system (LIMS) platform (Liu et al., 2016). Within ProHits, WIFF files were converted to an MGF format using the WIFF2MGF converter and to an mzML format using ProteoWizard (V3.0.10702) and the AB SCIEX MS Data Converter (V1.3 beta).

DDA acquisition data was searched using Mascot (V2.3.02) (Perkins et al., 1999) and Comet (V2016.01 rev.2, (Eng et al., 2013).The spectra were searched with the human and adenovirus sequences in the RefSeq database (version 57, January 30th, 2013) acquired from NCBI, supplemented with “common contaminants” from the Max Planck Institute (http://www.coxdocs.org/doku.php?id=maxquant:start_downloads.htm) and the Global Proteome Machine (GPM; ftp://ftp.thegpm.org/fasta/cRAP), forward and reverse sequences (labeled “gi|9999” or “DECOY”), sequence tags (BirA, GST26, mCherry and GFP) and streptavidin, for a total of 72,481 entries. Database parameters were set to search for tryptic cleavages, allowing up to 2 missed cleavages sites per peptide with a mass tolerance of 35ppm for precursors with charges of 2+ to 4+ and a tolerance of 0.15amu for fragment ions. Variable modifications were selected for deamidated asparagine and glutamine and oxidized methionine. Results from each search engine were analyzed through TPP (the Trans-Proteomic Pipeline, v.4.7 POLAR VORTEX rev 1) via the iProphet pipeline (Shteynberg et al., 2011).

DIA acquisition data was searched using MS-GFDB (Wang et al., 2015). The spectra were searched with the human and adenovirus sequences in the RefSeq database (version 57, January 30th, 2013) acquired from NCBI, supplemented with “common contaminants” from the Max Planck Institute (http://www.coxdocs.org/doku.php?id=maxquant:start_downloads.htm) and the Global Proteome Machine (GPM; ftp://ftp.thegpm.org/fasta/cRAP), for a total of 36,361 entries. Database parameters were set to search for tryptic cleavages, with a mass tolerance of 50ppm for precursors with charges of 2+ to 4+ and a peptide length of 8 to 30 amino acids. Oxidized methionine was set as the variable modification. DDA files were used to generate a spectral library for the SWATH files.

### SAINT analysis

The SAINT analysis tool is used to identify high-confidence protein interactors versus control samples (Teo et al., 2014). SAINTexpress version 3.6.1 was used for DDA and version 3.6.3 for MSPLIT. SAINT analysis was performed using two biological replicates per bait for both DDA and MSPLIT. Six negative control experiments with miniTurbo-3xFLAG-alone samples were conducted for BioID; two asynchronous replicates, two in G1/S and two in mitosis. SAINT probabilities were calculated independently for each sample, averaged (AvgP) across biological replicates and reported as the final SAINT score. Prior to applying SAINT, proteins were filtered with iProphet ≥ 0.95 and unique peptides ≥ 2 for DDA and unique peptides ≥ 2 for MSPLIT.  Proteins with a BFDR (Bayesian False Discovery Rate) ≤ 0.01 are considered high-confidence protein interactors. Heat maps were generated from SAINT output via ProHits-viz (Knight et al., 2015).

### Filtered prey dataset

For each prey, the averaged spectral counts obtained with miniTurbo alone (2 replicates x 3 conditions) were subtracted from averaged spectral counts with miniTurbo-CNA (wild type or mutant) for each condition (background subtracted spectral counts, Table S1). Final dataset of 41 proteins resulted from 38 preys from DDA analysis and 3 additional preys from mSPLIT analysis, that were significantly biotinylated by miniTurbo-CNAWT (unique peptides ≥ 2, BFDR ≤ 0.01) in at least one condition. PxIxIT-dependent proteins displayed Log2 (spectral counts with miniTurbo-CNAWT/miniTurbo-CNANIRmut)  ≥ 0.5 for at least one condition. For preys with spectral counts with miniTurbo-CNANIRmut = 0, values were converted to 0.5 to calculate CNAWT/CNANIRmut ratios.