Methods for Protein Sequence Analysis by LC-MS/MS.

Taplin Biological Mass Spectrometry Facility
Sample Processing protocol:
Excised gel bands were cut into approximately 1 mm3 pieces.  Gel pieces were then subjected to a modified in-gel trypsin digestion procedure (1).  Gel pieces were washed and dehydrated with acetonitrile for 10 min. followed by removal of acetonitrile.  Pieces were then completely dried in a speed-vac.  Rehydration of the gel pieces was with 50 mM ammonium bicarbonate solution containing 12.5 ng/µl modified sequencing-grade trypsin (Promega, Madison, WI) at 4ºC.  After 45 min., the excess trypsin solution was removed and replaced with 50 mM ammonium bicarbonate solution to just cover the gel pieces.  Samples were then placed in a 37ºC room overnight.  Peptides were later extracted by removing the ammonium bicarbonate solution, followed by one wash with a solution containing 50% acetonitrile and 1% formic acid.  The extracts were then dried in a speed-vac (~1 hr).  The samples were then stored at 4ºC until analysis.  

On the day of analysis the samples were reconstituted in 5 - 10 µl of HPLC solvent A (2.5% acetonitrile, 0.1% formic acid).  A nano-scale reverse-phase HPLC capillary column was created by packing 5 µm C18 spherical silica beads into a fused silica capillary (125 µm inner diameter x ~20 cm length) with a flame-drawn tip (2).  After equilibrating the column each sample was loaded via a Famos auto sampler (LC Packings, San Francisco CA) onto the column.    A gradient was formed and peptides were eluted with increasing concentrations of solvent B (97.5% acetonitrile, 0.1% formic acid).  

Data Processing Protocol

As peptides eluted they were subjected to electrospray ionization and then entered into an LTQ Velos ion-trap mass spectrometer (ThermoFisher, San Jose, CA).  Peptides were detected, isolated, and fragmented to produce a tandem mass spectrum of specific fragment ions for each peptide.  Peptide sequences (and hence protein identity) were determined by matching protein databases with the acquired fragmentation pattern by the software program, Sequest (ThermoFisher, San Jose, CA) (3).  Spectral matches were manually examined and multiple identified peptides per protein were required.  
References:

1. Shevchenko, et al., Anal Chem. 68:850-858, 1996

2. Peng, J and Gygi S.P. Proteomics: The move to mixtures, J. Mass Spec. Oct:36(10):1083-91

3. Eng. et al., J. Am. Soc. Mass. Spectrom. 5:976-989, 1994

